Quote Ref Number [   ]

Integrated pump and tank system

Supply and install in the position shown on the drawings [1 No.] DPT FlyVar integrated break tank and variable-speed booster set, manufactured and supplied by:

Direct Pumps & Tanks Ltd
Unit 12, Soloman Road
Cossall Industrial Estate
Ilkeston,

Derbyshire,

DE7 5UA

T:  0115 944 4474
Email:  enquiries@dpandt.co.uk
Web:  directpumpsandtanks.co.uk

Design duty and configuration

The system shall provide a minimum duty of [      ] L/s at [      ] bar at the nominated design point.

The nominal break-tank storage capacity shall be [    ] litres, selected to suit the calculated peak demand and available incoming mains flow.

The unit shall incorporate [single / twin] pump(s), configured for [duty only / duty-standby] operation as applicable.

Where specified, the system shall provide Category 5 backflow protection using a compliant Type AB air gap: [required / not required]

Construction and principal components

The FlyVar shall be supplied as an integrated package comprising a GRP water storage tank and stainless-steel submersible pump arrangement. The tank shall be pre-insulated and provided with a reinforced base, screened vent, overflow and warning pipe connection where applicable, in accordance with the project requirements and current Water Supply (Water Fittings) Regulations.

•  WRAS-approved stainless-steel submersible pump(s).

•  Independent variable-speed inverter control for each pump.

•  Inlet valve controlled by equilibrium valve

•  WRAS-approved pump control vessel complete with isolation and drain valve.

•  Low-water-level pump protection

•  Digital status display providing operating and fault information.

•  Common alarm volt-free contact for connection to the BMS.

•  Integrated electrical control centre for power and control distribution.

•  Insulated GRP break tank with screened ventilation and overflow provisions.

•  Split-tank or access-orientated configuration where required by site constraints.

Testing, commissioning and handover

The complete unit shall be factory assembled and tested before dispatch. Commissioning shall be undertaken by Direct Pumps & Tanks Ltd or an approved commissioning engineer where included within the project scope. A commissioning record shall be provided for inclusion within the operation and maintenance manual. Warranty shall be in accordance with the Direct Pumps & Tanks Ltd quotation and published terms.